## mHDR-v1(classic)
| TG-43 CONSENSUS |  |  |  |  | Nucletron HDR 192Ir mHDR-v1
Dose calculation for photon-emitting brachytherapy sources with average energy higher than 50 keV: Full Report of the AAPM and ESTRO
Med. Phys. 39 (2012) 2904-2929
| L = | 1.1158 |  | cGy/(h U)
Interpolated / extrapolated data are boldface / underlined. Values inside the source are in italics.
| gL(r) |  |  |  | F(r,q) | [9 empty] | QA Along-away
| L = | 0.35 | cm |  |  |  | Distance from Active Source Center (cm)
| r (cm) | gL(r) L = 0,01 cm unbounded |  | q (º) | 0 | 0.25 | 0.5 | 1 | 2 | 3 | 4 | 5 | 7.5 | 10 |  | z (cm) | 0 | 0.25 | 0.5 | 0.75 | 1 | 1.5 | 2 | 3 | 4 | 5 | 6 | 7
| 0 | 0.99105 |  | 0 | 0.6831 | 0.6831 | 0.664 | 0.6258 | 0.6344 | 0.6552 | 0.6771 | 0.6974 | 0.7428 | 0.7756 |  | 7 | 0.016616 | 0.016873 | 0.017159 | 0.017397 | 0.017623 | 0.01787 | 0.017843 | 0.017056 | 0.015581 | 0.01384 | 0.012038 | 0.010409
| 0.2 | 0.99105 |  | 1 | 0.68325 | 0.68325 | 0.6635 | 0.624 | 0.6379 | 0.6609 | 0.6832 | 0.7042 | 0.7464 | 0.779 |  | 6 | 0.022275 | 0.022767 | 0.023224 | 0.0237 | 0.024081 | 0.024378 | 0.024204 | 0.022513 | 0.019985 | 0.017168 | 0.014568 | 0.012252
| 0.25 | 0.99243 |  | 2 | 0.68245 | 0.68245 | 0.6632 | 0.6247 | 0.6455 | 0.6693 | 0.6905 | 0.7129 | 0.7538 | 0.7836 |  | 5 | 0.031516 | 0.032485 | 0.033368 | 0.034251 | 0.034801 | 0.03505 | 0.03425 | 0.030525 | 0.025887 | 0.021449 | 0.017552 | 0.014342
| 0.5 | 0.99741 |  | 3 | 0.67715 | 0.67715 | 0.6636 | 0.6365 | 0.6562 | 0.6814 | 0.7014 | 0.7218 | 0.7621 | 0.7906 |  | 4 | 0.048064 | 0.049954 | 0.051854 | 0.05347 | 0.054298 | 0.053889 | 0.051008 | 0.042686 | 0.033927 | 0.026591 | 0.020912 | 0.016623
| 0.75 | 0.9987 |  | 5 | 0.683 | 0.683 | 0.6747 | 0.6581 | 0.6792 | 0.7007 | 0.7186 | 0.7379 | 0.7753 | 0.7988 |  | 3 | 0.082852 | 0.087727 | 0.092621 | 0.095421 | 0.095792 | 0.09057 | 0.081134 | 0.060615 | 0.044156 | 0.032563 | 0.024537 | 0.018877
| 1 | 1 |  | 7 | 0.7039 | 0.7039 | 0.6973 | 0.6841 | 0.7024 | 0.7238 | 0.7401 | 0.7595 | 0.7904 | 0.814 |  | 2 | 0.18089 | 0.19767 | 0.21099 | 0.21189 | 0.2023 | 0.1699 | 0.1364 | 0.085633 | 0.055992 | 0.03858 | 0.027811 | 0.0208
| 1.5 | 1.0023 |  | 10 | 0.73825 | 0.73825 | 0.7327 | 0.7216 | 0.7392 | 0.7586 | 0.773 | 0.7893 | 0.8157 | 0.8347 |  | 1.5 | 0.32072 | 0.35832 | 0.37686 | 0.35856 | 0.32194 | 0.2417 | 0.17675 | 0.09973 | 0.06163 | 0.041184 | 0.02917 | 0.021575
| 2 | 1.0042 |  | 12 | 0.76215 | 0.76215 | 0.7575 | 0.7482 | 0.7643 | 0.7802 | 0.7924 | 0.8066 | 0.8297 | 0.8485 |  | 1 | 0.72759 | 0.84145 | 0.8087 | 0.6772 | 0.5419 | 0.34032 | 0.2236 | 0.11287 | 0.066394 | 0.043401 | 0.030278 | 0.022172
| 3 | 1.0064 |  | 15 | 0.7984 | 0.7984 | 0.7932 | 0.7828 | 0.7964 | 0.8111 | 0.8211 | 0.8325 | 0.851 | 0.8648 |  | 0.5 | 3.4025 | 3.4317 | 2.1943 | 1.3534 | 0.88603 | 0.44756 | 0.26484 | 0.12251 | 0.069715 | 0.044779 | 0.030937 | 0.022538
| 4 | 1.0058 |  | 20 | 0.8451 | 0.8451 | 0.842 | 0.8358 | 0.8439 | 0.8548 | 0.8618 | 0.8709 | 0.8842 | 0.8942 |  | 0 | 392398351.1241 | 15.6138 | 4.3253 | 1.9659 | 1.1158 | 0.49981 | 0.28223 | 0.12588 | 0.070804 | 0.045117 | 0.031094 | 0.022627
| 5 | 1.0012 |  | 25 | 0.88455 | 0.88455 | 0.88 | 0.8709 | 0.8795 | 0.8882 | 0.8913 | 0.8967 | 0.9076 | 0.9147 |  | -0.5 | 2.7594 | 3.4277 | 2.1968 | 1.3564 | 0.8857 | 0.44746 | 0.26481 | 0.12258 | 0.069772 | 0.04475 | 0.030923 | 0.022534
| 6 | 0.99348 |  | 30 | 0.9103 | 0.9103 | 0.9063 | 0.8983 | 0.9055 | 0.9121 | 0.9148 | 0.918 | 0.9275 | 0.9303 |  | -1 | 0.63713 | 0.82017 | 0.80611 | 0.678 | 0.5423 | 0.34069 | 0.22331 | 0.11283 | 0.066575 | 0.043434 | 0.030257 | 0.022157
| 8 | 0.97 |  | 35 | 0.93125 | 0.93125 | 0.9279 | 0.9212 | 0.9268 | 0.9323 | 0.9357 | 0.9405 | 0.9448 | 0.9475 |  | -1.5 | 0.28376 | 0.33603 | 0.37194 | 0.35728 | 0.32187 | 0.24157 | 0.17698 | 0.099644 | 0.061569 | 0.041264 | 0.029236 | 0.02158
| 10 | 0.93353 |  | 40 | 0.9524 | 0.9524 | 0.947 | 0.9362 | 0.9429 | 0.948 | 0.9484 | 0.9529 | 0.9554 | 0.9562 |  | -2 | 0.16167 | 0.18116 | 0.20566 | 0.20993 | 0.20148 | 0.16994 | 0.13645 | 0.085633 | 0.056001 | 0.038525 | 0.027786 | 0.020819
|  |  |  | 45 | 0.96175 | 0.96175 | 0.9587 | 0.9526 | 0.9583 | 0.9621 | 0.962 | 0.9662 | 0.9682 | 0.9675 |  | -3 | 0.075252 | 0.07976 | 0.087819 | 0.093167 | 0.094501 | 0.090164 | 0.08101 | 0.060589 | 0.04423 | 0.032539 | 0.024486 | 0.018811
|  |  |  | 50 | 0.971 | 0.971 | 0.9689 | 0.9647 | 0.9684 | 0.971 | 0.9719 | 0.9753 | 0.9766 | 0.9748 |  | -4 | 0.044082 | 0.045763 | 0.04842 | 0.051395 | 0.053101 | 0.053382 | 0.050863 | 0.042602 | 0.03384 | 0.026586 | 0.020926 | 0.016595
|  |  |  | 55 | 0.9844 | 0.9844 | 0.9763 | 0.9708 | 0.9766 | 0.9798 | 0.9794 | 0.9798 | 0.9817 | 0.983 |  | -5 | 0.029247 | 0.029975 | 0.031072 | 0.032501 | 0.033701 | 0.034498 | 0.033996 | 0.030517 | 0.025878 | 0.021385 | 0.017532 | 0.014353
|  |  |  | 60 | 0.9885 | 0.9885 | 0.9831 | 0.9776 | 0.9836 | 0.9877 | 0.9875 | 0.9892 | 0.9891 | 0.9895 |  | -6 | 0.020802 | 0.021164 | 0.021675 | 0.022388 | 0.023104 | 0.023904 | 0.023918 | 0.022425 | 0.019936 | 0.01718 | 0.014526 | 0.012246
|  |  |  | 65 | 0.9922 | 0.9922 | 0.9878 | 0.986 | 0.9892 | 0.9911 | 0.9893 | 0.9928 | 0.9955 | 0.9928 |  | -7 | 0.015609 | 0.015788 | 0.016085 | 0.016451 | 0.016851 | 0.017464 | 0.0176 | 0.016926 | 0.015558 | 0.013812 | 0.012052 | 0.010382
|  |  |  | 70 | 0.9952 | 0.9952 | 0.9935 | 0.9908 | 0.9926 | 0.9956 | 0.9938 | 0.9951 | 0.9973 | 0.9953
|  |  |  | 75 | 0.9969 | 0.9969 | 0.9954 | 0.9927 | 0.9955 | 0.9973 | 0.996 | 0.997 | 0.9986 | 0.9964
|  |  |  | 80 | 0.9982 | 0.9982 | 0.9998 | 0.995 | 0.9991 | 1.0003 | 0.9987 | 1.0027 | 0.9999 | 0.9987
|  |  |  | 85 | 0.9988 | 0.9988 | 0.9999 | 0.9949 | 0.9976 | 0.9993 | 1.001 | 1.0026 | 1.0015 | 1.0004
|  |  |  | 90 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | 95 | 0.999 | 0.999 | 0.9999 | 0.9936 | 0.999 | 1.0028 | 1.0011 | 1.0019 | 1.0014 | 1.001
|  |  |  | 100 | 0.9986 | 0.9986 | 0.9978 | 0.9928 | 0.9981 | 1.0005 | 1.0006 | 1.0023 | 0.9988 | 0.9994
|  |  |  | 105 | 0.9976 | 0.9976 | 0.9964 | 0.9909 | 0.9955 | 0.9986 | 0.9988 | 1.0012 | 1.0002 | 0.9987
|  |  |  | 110 | 0.9951 | 0.9951 | 0.9929 | 0.9903 | 0.993 | 0.9944 | 0.9927 | 0.9932 | 0.9941 | 0.9926
|  |  |  | 115 | 0.9928 | 0.9928 | 0.9898 | 0.9849 | 0.9877 | 0.9911 | 0.9915 | 0.9932 | 0.9918 | 0.9908
|  |  |  | 120 | 0.9888 | 0.9888 | 0.9856 | 0.9792 | 0.9831 | 0.9826 | 0.9843 | 0.9876 | 0.988 | 0.9862
|  |  |  | 125 | 0.984 | 0.984 | 0.9784 | 0.9731 | 0.9779 | 0.9812 | 0.9808 | 0.9826 | 0.9828 | 0.9836
|  |  |  | 130 | 0.9701 | 0.9701 | 0.9689 | 0.9665 | 0.9691 | 0.9725 | 0.9712 | 0.975 | 0.9752 | 0.9752
|  |  |  | 135 | 0.96195 | 0.96195 | 0.9594 | 0.9543 | 0.9576 | 0.9627 | 0.9622 | 0.9639 | 0.9652 | 0.965
|  |  |  | 140 | 0.9498 | 0.9498 | 0.9461 | 0.9387 | 0.9448 | 0.9485 | 0.9504 | 0.9536 | 0.956 | 0.9583
|  |  |  | 145 | 0.9343 | 0.9343 | 0.9301 | 0.9217 | 0.9267 | 0.9316 | 0.9338 | 0.9371 | 0.9422 | 0.9456
|  |  |  | 150 | 0.9127 | 0.9127 | 0.9079 | 0.8983 | 0.9045 | 0.9106 | 0.9135 | 0.9195 | 0.9258 | 0.931
|  |  |  | 155 | 0.8837 | 0.8837 | 0.8781 | 0.8669 | 0.8751 | 0.8826 | 0.8868 | 0.8938 | 0.9018 | 0.908
|  |  |  | 160 | 0.82022 | 0.82022 | 0.82245 | 0.8269 | 0.8358 | 0.8455 | 0.853 | 0.8626 | 0.8755 | 0.8856
|  |  |  | 165 | 0.75755 | 0.75755 | 0.7608 | 0.7673 | 0.7803 | 0.7949 | 0.8058 | 0.8162 | 0.839 | 0.8535
|  |  |  | 168 | 0.7082 | 0.7082 | 0.7122 | 0.7202 | 0.7362 | 0.7551 | 0.769 | 0.7846 | 0.8112 | 0.8317
|  |  |  | 170 | 0.66068 | 0.66068 | 0.66645 | 0.678 | 0.7011 | 0.7227 | 0.7395 | 0.7572 | 0.7887 | 0.8103
|  |  |  | 173 | 0.5922 | 0.5922 | 0.5994 | 0.6138 | 0.6426 | 0.6698 | 0.6902 | 0.7117 | 0.7532 | 0.7823
|  |  |  | 175 | 0.55565 | 0.55565 | 0.5632 | 0.5783 | 0.6085 | 0.6375 | 0.66 | 0.6845 | 0.7307 | 0.7618
|  |  |  | 177 | 0.5376 | 0.5376 | 0.5445 | 0.5583 | 0.5859 | 0.6157 | 0.6418 | 0.6658 | 0.7143 | 0.7498
|  |  |  | 178 | 0.5313 | 0.5313 | 0.5377 | 0.5505 | 0.5761 | 0.6055 | 0.6323 | 0.659 | 0.7074 | 0.7442
|  |  |  | 179 | 0.53573 | 0.53573 | 0.54055 | 0.5502 | 0.5695 | 0.5974 | 0.6243 | 0.6488 | 0.7002 | 0.7391
|  |  |  | 180 | 0.53375 | 0.53375 | 0.5385 | 0.548 | 0.567 | 0.5951 | 0.621 | 0.6472 | 0.6998 | 0.7384