## HDR Plus
| TG-43 CONSENSUS |  |  |  |  | GammaMed HDR 192Ir Plus
Dose calculation for photon-emitting brachytherapy sources with average energy higher than 50 keV: Full Report of the AAPM and ESTRO
Med. Phys. 39 (2012) 2904-2929
| L = | 1.1165 |  | cGy/(h U)
Interpolated / extrapolated data are boldface / underlined. Values inside the source are in italics.
| gL(r) |  |  |  | F(r,q) | [17 empty] | QA Along-away
| L = | 0.35 | cm |  |  |  | Distance from Active Source Center (cm) | [19 empty] | y / cm
| r (cm) | gL(r) L = 0,35 cm unbounded |  | q (º) | 0 | 0.2 | 0.4 | 0.6 | 0.8 | 1 | 1.25 | 1.5 | 1.75 | 2 | 2.5 | 3 | 3.5 | 4 | 5 | 6 | 8 | 10 |  | z / cm | 0 | 0.25 | 0.5 | 0.75 | 1 | 1.5 | 2 | 3 | 4 | 5 | 6 | 7
| 0 | 0.99805 |  | 0 | 0.6948 | 0.6948 | 0.6656 | 0.6364 | 0.6298 | 0.6077 | 0.6153 | 0.634 | 0.6248 | 0.629 | 0.6481 | 0.6537 | 0.6602 | 0.683 | 0.7021 | 0.716 | 0.7581 | 0.7889 |  | 7 | 0.01664 | 0.016855 | 0.017194 | 0.017485 | 0.017715 | 0.017975 | 0.017954 | 0.017107 | 0.015648 | 0.013862 | 0.012111 | 0.010465
| 0.2 | 0.99805 |  | 1 | 0.7106 | 0.7106 | 0.6769 | 0.6432 | 0.632 | 0.609 | 0.6144 | 0.6316 | 0.6257 | 0.6331 | 0.6562 | 0.6668 | 0.6758 | 0.6977 | 0.7161 | 0.7274 | 0.7617 | 0.7858 |  | 6 | 0.022282 | 0.022786 | 0.023454 | 0.023935 | 0.024323 | 0.024596 | 0.024326 | 0.022578 | 0.01998 | 0.017204 | 0.014578 | 0.012293
| 0.25 | 0.99745 |  | 2 | 0.7153 | 0.7153 | 0.6841 | 0.6529 | 0.6404 | 0.62 | 0.6242 | 0.6376 | 0.6343 | 0.6414 | 0.6609 | 0.671 | 0.679 | 0.697 | 0.717 | 0.7302 | 0.764 | 0.7937 |  | 5 | 0.031691 | 0.032638 | 0.033724 | 0.034658 | 0.035199 | 0.035404 | 0.034438 | 0.03075 | 0.025949 | 0.02139 | 0.017552 | 0.014351
| 0.5 | 0.99649 |  | 3 | 0.7084 | 0.7084 | 0.6843 | 0.6602 | 0.6501 | 0.634 | 0.6372 | 0.6469 | 0.6457 | 0.6528 | 0.6707 | 0.6823 | 0.6906 | 0.705 | 0.7261 | 0.7386 | 0.7711 | 0.798 |  | 4 | 0.048432 | 0.05006 | 0.052146 | 0.053796 | 0.054773 | 0.054261 | 0.051311 | 0.042772 | 0.033924 | 0.026572 | 0.02087 | 0.016586
| 0.75 | 0.99788 |  | 4 | 0.7363 | 0.7363 | 0.701 | 0.6657 | 0.6544 | 0.6453 | 0.6523 | 0.6618 | 0.6627 | 0.6679 | 0.6799 | 0.6896 | 0.6974 | 0.7112 | 0.7358 | 0.7499 | 0.7791 | 0.8048 |  | 3 | 0.08269 | 0.088024 | 0.093486 | 0.096536 | 0.096989 | 0.091272 | 0.081585 | 0.060661 | 0.044224 | 0.03253 | 0.02442 | 0.018777
| 1 | 1 |  | 5 | 0.7277 | 0.7277 | 0.7059 | 0.6841 | 0.6731 | 0.6641 | 0.6679 | 0.6736 | 0.6764 | 0.6824 | 0.6934 | 0.704 | 0.712 | 0.7238 | 0.7481 | 0.7616 | 0.7881 | 0.811 |  | 2 | 0.17976 | 0.20084 | 0.21487 | 0.21565 | 0.20464 | 0.17107 | 0.13673 | 0.085693 | 0.055981 | 0.038533 | 0.027748 | 0.020712
| 1.5 | 1.0032 |  | 6 | 0.7217 | 0.7217 | 0.7088 | 0.6959 | 0.6882 | 0.6811 | 0.6833 | 0.686 | 0.6909 | 0.6971 | 0.707 | 0.7179 | 0.7251 | 0.7344 | 0.757 | 0.77 | 0.7946 | 0.8168 |  | 1.5 | 0.32321 | 0.36365 | 0.38368 | 0.3636 | 0.32613 | 0.24303 | 0.17763 | 0.09983 | 0.061677 | 0.041153 | 0.02912 | 0.021485
| 2 | 1.0058 |  | 7 | 0.736 | 0.736 | 0.7204 | 0.7048 | 0.6966 | 0.6924 | 0.6968 | 0.7003 | 0.7067 | 0.7123 | 0.7189 | 0.7289 | 0.736 | 0.7446 | 0.7686 | 0.78 | 0.8016 | 0.8231 |  | 1 | 0.70702 | 0.8613 | 0.82004 | 0.68492 | 0.54497 | 0.34271 | 0.22474 | 0.11298 | 0.066435 | 0.043247 | 0.030194 | 0.022069
| 3 | 1.006 |  | 8 | 0.7316 | 0.7316 | 0.726 | 0.7204 | 0.7154 | 0.7119 | 0.7133 | 0.7128 | 0.7188 | 0.724 | 0.731 | 0.7431 | 0.751 | 0.7581 | 0.7794 | 0.789 | 0.8099 | 0.8299 |  | 0.5 | 3.3351 | 3.4713 | 2.2082 | 1.3627 | 0.8915 | 0.44942 | 0.26607 | 0.12251 | 0.069638 | 0.044588 | 0.030852 | 0.022429
| 4 | 1.0041 |  | 9 | 0.7436 | 0.7436 | 0.7383 | 0.733 | 0.7286 | 0.7258 | 0.7277 | 0.727 | 0.7339 | 0.7384 | 0.7431 | 0.7542 | 0.762 | 0.7685 | 0.7898 | 0.7992 | 0.8182 | 0.8368 |  | 0 | 402209620.3145 | 15.7035 | 4.3243 | 1.9656 | 1.1165 | 0.50059 | 0.28287 | 0.12592 | 0.07073 | 0.045064 | 0.031085 | 0.022558
| 5 | 0.99933 |  | 10 | 0.7622 | 0.7622 | 0.7526 | 0.743 | 0.7384 | 0.7378 | 0.7409 | 0.7401 | 0.7478 | 0.7518 | 0.7548 | 0.765 | 0.7723 | 0.7779 | 0.799 | 0.8083 | 0.8259 | 0.8437 |  | -0.5 | 2.1687 | 3.4622 | 2.2029 | 1.3618 | 0.89117 | 0.44928 | 0.26546 | 0.12236 | 0.069572 | 0.0446 | 0.030844 | 0.022431
| 6 | 0.99251 |  | 15 | 0.8367 | 0.8367 | 0.8199 | 0.8031 | 0.8006 | 0.8018 | 0.804 | 0.8019 | 0.8087 | 0.8107 | 0.8131 | 0.8209 | 0.8279 | 0.8293 | 0.8443 | 0.848 | 0.8627 | 0.873 |  | -1 | 0.50534 | 0.85319 | 0.81967 | 0.68413 | 0.54488 | 0.34259 | 0.22446 | 0.11284 | 0.066371 | 0.043258 | 0.030179 | 0.022072
| 8 | 0.96809 |  | 20 | 0.9619 | 0.9619 | 0.8657 | 0.8551 | 0.8541 | 0.8523 | 0.8531 | 0.852 | 0.8577 | 0.8583 | 0.8616 | 0.8648 | 0.8701 | 0.869 | 0.878 | 0.88 | 0.8931 | 0.9 |  | -1.5 | 0.22705 | 0.35639 | 0.38191 | 0.36254 | 0.32557 | 0.24303 | 0.17765 | 0.099735 | 0.061642 | 0.041139 | 0.0291 | 0.021486
| 10 | 0.93513 |  | 30 | 0.9677 | 0.9677 | 0.9229 | 0.9174 | 0.9161 | 0.9118 | 0.9133 | 0.912 | 0.9177 | 0.9177 | 0.918 | 0.9211 | 0.9233 | 0.9231 | 0.9272 | 0.9301 | 0.9331 | 0.9389 |  | -2 | 0.13043 | 0.19066 | 0.21306 | 0.21494 | 0.20419 | 0.17127 | 0.13676 | 0.085678 | 0.055981 | 0.038503 | 0.027724 | 0.020709
|  |  |  | 40 | 0.9787 | 0.9787 | 0.9561 | 0.951 | 0.9522 | 0.9481 | 0.9489 | 0.9456 | 0.95 | 0.951 | 0.9501 | 0.9528 | 0.9549 | 0.9542 | 0.9577 | 0.9584 | 0.9593 | 0.9632 |  | -3 | 0.060522 | 0.080357 | 0.091608 | 0.095933 | 0.096673 | 0.091048 | 0.081438 | 0.060654 | 0.044174 | 0.032506 | 0.024407 | 0.018773
|  |  |  | 50 | 0.987 | 0.987 | 0.9767 | 0.9727 | 0.9733 | 0.9712 | 0.9724 | 0.9706 | 0.9722 | 0.973 | 0.973 | 0.9744 | 0.9749 | 0.9738 | 0.9769 | 0.976 | 0.9782 | 0.9783 |  | -4 | 0.035491 | 0.044529 | 0.050405 | 0.053349 | 0.054636 | 0.054241 | 0.051204 | 0.042693 | 0.033906 | 0.026577 | 0.020866 | 0.016592
|  |  |  | 60 | 0.9928 | 0.9928 | 0.987 | 0.984 | 0.9848 | 0.9848 | 0.9866 | 0.9853 | 0.987 | 0.9877 | 0.9886 | 0.9886 | 0.9882 | 0.9877 | 0.9893 | 0.9878 | 0.9883 | 0.9883 |  | -5 | 0.023587 | 0.028301 | 0.031663 | 0.033605 | 0.034644 | 0.03521 | 0.034347 | 0.030655 | 0.025921 | 0.021381 | 0.017536 | 0.01435
|  |  |  | 70 | 0.994 | 0.994 | 0.9948 | 0.994 | 0.9941 | 0.9948 | 0.9961 | 0.9934 | 0.9958 | 0.9964 | 0.9963 | 0.9964 | 0.996 | 0.9961 | 0.9957 | 0.9951 | 0.9948 | 0.9957 |  | -6 | 0.016948 | 0.019736 | 0.021861 | 0.023123 | 0.02387 | 0.024404 | 0.024233 | 0.022508 | 0.019945 | 0.017198 | 0.01457 | 0.012293
|  |  |  | 80 | 0.9982 | 0.9982 | 0.999 | 0.9989 | 0.998 | 0.9989 | 0.9997 | 0.998 | 0.9996 | 1.0003 | 0.9997 | 0.9999 | 0.9998 | 1.0001 | 0.9991 | 0.9993 | 0.9986 | 0.9992 |  | -7 | 0.012793 | 0.014608 | 0.015986 | 0.016814 | 0.017367 | 0.017819 | 0.017881 | 0.017047 | 0.015617 | 0.013842 | 0.012104 | 0.010465
|  |  |  | 90 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | 100 | 1.0002 | 1.0002 | 0.9993 | 0.9987 | 0.9988 | 0.999 | 0.9982 | 0.9982 | 0.9983 | 0.9976 | 0.9987 | 0.9986 | 0.9987 | 0.9987 | 0.9996 | 0.9987 | 0.9995 | 0.9989
|  |  |  | 110 | 0.9979 | 0.9979 | 0.9961 | 0.994 | 0.9946 | 0.9947 | 0.9947 | 0.9934 | 0.9948 | 0.9942 | 0.9953 | 0.995 | 0.995 | 0.9954 | 0.9952 | 0.994 | 0.9946 | 0.9949
|  |  |  | 120 | 0.9983 | 0.9983 | 0.9897 | 0.985 | 0.9838 | 0.9848 | 0.9862 | 0.984 | 0.9867 | 0.9869 | 0.9873 | 0.9869 | 0.9877 | 0.9893 | 0.9882 | 0.987 | 0.9887 | 0.989
|  |  |  | 130 | 0.9943 | 0.9943 | 0.9759 | 0.9729 | 0.9708 | 0.9717 | 0.9717 | 0.97 | 0.972 | 0.9729 | 0.9737 | 0.9736 | 0.974 | 0.9754 | 0.9758 | 0.9767 | 0.9771 | 0.979
|  |  |  | 140 | 0.9906 | 0.9906 | 0.9576 | 0.9496 | 0.9471 | 0.948 | 0.947 | 0.9471 | 0.9494 | 0.9502 | 0.9521 | 0.9527 | 0.954 | 0.9532 | 0.956 | 0.9576 | 0.959 | 0.9624
|  |  |  | 150 | 0.9733 | 0.9733 | 0.9229 | 0.9141 | 0.9138 | 0.9142 | 0.914 | 0.9122 | 0.9154 | 0.9161 | 0.9171 | 0.9194 | 0.9214 | 0.9201 | 0.9253 | 0.9268 | 0.9314 | 0.9347
|  |  |  | 160 | 0.9658 | 0.9658 | 0.8726 | 0.851 | 0.8497 | 0.8471 | 0.85 | 0.848 | 0.8528 | 0.856 | 0.8571 | 0.8632 | 0.8666 | 0.8696 | 0.8757 | 0.8776 | 0.8891 | 0.8954
|  |  |  | 165 | 0.8282 | 0.8282 | 0.8144 | 0.8006 | 0.7983 | 0.7958 | 0.798 | 0.8007 | 0.8021 | 0.8064 | 0.809 | 0.8178 | 0.822 | 0.8294 | 0.8382 | 0.8427 | 0.8601 | 0.87
|  |  |  | 170 | 0.7892 | 0.7892 | 0.756 | 0.7228 | 0.7203 | 0.7247 | 0.7252 | 0.729 | 0.7299 | 0.7342 | 0.743 | 0.7538 | 0.7613 | 0.7711 | 0.7836 | 0.7949 | 0.8188 | 0.8311
|  |  |  | 171 | 0.73 | 0.73 | 0.715 | 0.7 | 0.6991 | 0.7062 | 0.7064 | 0.7102 | 0.7119 | 0.7159 | 0.7252 | 0.7354 | 0.7437 | 0.755 | 0.7684 | 0.7823 | 0.8093 | 0.8221
|  |  |  | 172 | 0.722 | 0.722 | 0.699 | 0.676 | 0.679 | 0.686 | 0.6861 | 0.689 | 0.692 | 0.6961 | 0.705 | 0.7156 | 0.7249 | 0.7377 | 0.7521 | 0.768 | 0.7978 | 0.8114
|  |  |  | 173 | 0.6272 | 0.6272 | 0.6346 | 0.642 | 0.6494 | 0.6637 | 0.6632 | 0.6663 | 0.6714 | 0.6748 | 0.6844 | 0.6947 | 0.7054 | 0.7193 | 0.7349 | 0.7524 | 0.7847 | 0.7986
|  |  |  | 174 | 0.574 | 0.574 | 0.596 | 0.618 | 0.64 | 0.6426 | 0.6414 | 0.643 | 0.6504 | 0.653 | 0.662 | 0.6722 | 0.6838 | 0.6984 | 0.7146 | 0.7333 | 0.7686 | 0.7838
|  |  |  | 175 | 0.627 | 0.627 | 0.623 | 0.619 | 0.615 | 0.611 | 0.6147 | 0.6156 | 0.6248 | 0.6266 | 0.636 | 0.6462 | 0.6594 | 0.674 | 0.6923 | 0.713 | 0.7521 | 0.769
|  |  |  | 176 | 0.71 | 0.71 | 0.674 | 0.638 | 0.602 | 0.566 | 0.568 | 0.585 | 0.597 | 0.5977 | 0.6082 | 0.6176 | 0.6323 | 0.6451 | 0.666 | 0.6882 | 0.7308 | 0.75
|  |  |  | 177 | 0.6872 | 0.6872 | 0.6584 | 0.6296 | 0.6008 | 0.572 | 0.536 | 0.5 | 0.5648 | 0.5639 | 0.5752 | 0.5841 | 0.6002 | 0.6101 | 0.6344 | 0.6591 | 0.7061 | 0.7294
|  |  |  | 178 | 0.4498 | 0.4498 | 0.4586 | 0.4674 | 0.4762 | 0.485 | 0.496 | 0.507 | 0.518 | 0.529 | 0.5214 | 0.5329 | 0.553 | 0.5602 | 0.591 | 0.6202 | 0.672 | 0.7019
|  |  |  | 179 | 0.3294 | 0.3294 | 0.3398 | 0.3502 | 0.3606 | 0.371 | 0.384 | 0.397 | 0.41 | 0.423 | 0.449 | 0.475 | 0.501 | 0.527 | 0.5483 | 0.5721 | 0.6212 | 0.6586
|  |  |  | 180 | 0.41671 | 0.41671 | 0.42112 | 0.42553 | 0.42994 | 0.43435 | 0.43986 | 0.44538 | 0.45089 | 0.4564 | 0.46742 | 0.47845 | 0.48947 | 0.5005 | 0.52255 | 0.5446 | 0.5887 | 0.6328