ABSTRACT

Water quality in the European Union is subject to legislation through Directives that are applicable in all Member States. The Directives specify a set of physical and chemical parameters that should be regularly controlled using a network of sampling points, with sampling based on the intended use of the water. This paper presents the results of a statistical comparison of the quality of water intended for human consumption at two different locations (the Canal de Benagéber and the Canal Júcar-Turia) near the town of Valencia (Spain). These are currently the only canals that could supply Valencia and other nearby towns with drinking water. The parameters considered in this paper are the ones specified in the European Directives for determining the quality of water intended for human consumption. These Directives specify that the 95th percentile of the distribution of each parameter should be used to assess water quality, so accurate estimation of these percentiles was essential in this paper. We found statistically significant differences among locations in chlorides, sulfates, temperature, coloration, and manganese, but the results varied depending on the statistical tests that we used; parametric methods gave better results than nonparametric methods.

Keywords: European Union Council directives, Percentiles, Statistical data analysis, Water quality, Production of drinking water.
PAGE  

