## 1032P
| TG-43U1S2 CONSENSUS |  |  |  | IBt Inc. Pd-103 model 1032P
Supplement 2 for the 2004 update of the AAPM Task Group No. 43 Report: Joint recommendations by the AAPM and GEC-ESTRO
Rivard et al.
Med. Phys. 44 (9) (September 2017) e297-e338 http://dx.doi.org/10.1002/mp.12430
Erratum Med. Phys. 45(2) (February 2018) 971-974 http://dx.doi.org/10.1002/mp.12728
| L = | 0.671 | cGy/(h U)
| u(L) = | 0.019 | cGy/(h U)
| L = | 0.38 | cm
| Interpolated data are highlighted in boldface while extrapolated data are underlined. | [18 empty] | D(r,q)
cGy h-1 U-1
[7 empty] | F(r,q) | Distance from Active Source Center, r (cm) | [8 empty] | r | 1D dose (P) |  |  |  | r / cm
| r (cm) | gL(r) L = 0.38 cm | gP(r ) | r (cm) | fan(r) | q / deg | 0.1 | 0.25 | 0.5 | 0.75 | 1 | 2 | 3 | 5 | 7.5 | 10 | cm | cGy h-1 U-1 | q (º) | 0.1 | 0.25 | 0.5 | 0.75 | 1 | 2 | 3 | 5 | 7.5 | 10
| 0.1 | 0.628 | 0.363 | 0.1 | 1.273 | 0 |  | 0.1417 | 1.074 | 0.891 | 0.823 | 0.753 | 0.736 | 0.741 | 0.752 | 0.787 | 0.1 | 31 | 0 |  | 4.37 | 4.19 | 1.292 | 0.58 | 0.0743 | 0.01764 | 0.001823 | 0.0001735 | 2.48e-05
| 0.15 | 0.957 | 0.69 | 0.15 | 1.776 | 2 |  | 1.241 | 1.075 | 0.893 | 0.823 | 0.752 | 0.74 | 0.743 | 0.757 | 0.764 | 0.15 | 36.5 | 2 |  | 38.1 | 4.19 | 1.294 | 0.58 | 0.0743 | 0.01772 | 0.001827 | 0.0001747 | 2.41e-05
| 0.25 | 1.2 | 1.038 | 0.25 | 1.615 | 5 |  | 1.766 | 1.076 | 0.893 | 0.828 | 0.761 | 0.75 | 0.75 | 0.763 | 0.77 | 0.25 | 18 | 5 |  | 52.8 | 4.19 | 1.294 | 0.583 | 0.0751 | 0.01797 | 0.001844 | 0.0001761 | 2.43e-05
| 0.5 | 1.229 | 1.189 | 0.5 | 1.112 | 7 |  | 1.749 | 1.075 | 0.9 | 0.836 | 0.773 | 0.761 | 0.763 | 0.773 | 0.788 | 0.5 | 3.55 | 7 |  | 50.8 | 4.18 | 1.303 | 0.588 | 0.0762 | 0.01822 | 0.001876 | 0.0001784 | 2.48e-05
| 0.75 | 1.124 | 1.114 | 0.75 | 1.032 | 10 |  | 2.198 | 1.083 | 0.914 | 0.853 | 0.793 | 0.781 | 0.784 | 0.794 | 0.795 | 0.75 | 1.372 | 10 |  | 60.6 | 4.19 | 1.321 | 0.6 | 0.0782 | 0.01871 | 0.001927 | 0.0001834 | 2.5e-05
| 1 | 1 | 1 | 1 | 1.005 | 15 |  | 1.907 | 1.09 | 0.936 | 0.88 | 0.827 | 0.816 | 0.816 | 0.829 | 0.841 | 1 | 0.675 | 15 |  | 47.4 | 4.18 | 1.348 | 0.618 | 0.0816 | 0.01954 | 0.00201 | 0.0001913 | 2.65e-05
| 1.5 | 0.767 | 0.772 | 1.5 | 0.992 | 20 |  | 1.776 | 1.091 | 0.957 | 0.907 | 0.862 | 0.853 | 0.85 | 0.86 | 0.867 | 1.5 | 0.229 | 20 |  | 39.6 | 4.13 | 1.372 | 0.635 | 0.0849 | 0.0204 | 0.00209 | 0.0001985 | 2.73e-05
| 2 | 0.576 | 0.581 | 2 | 0.979 | 25 |  | 1.644 | 1.089 | 0.975 | 0.934 | 0.895 | 0.888 | 0.893 | 0.898 | 0.89 | 2 | 0.0955 | 25 |  | 33 | 4.06 | 1.389 | 0.652 | 0.0881 | 0.0213 | 0.00219 | 0.000207 | 2.81e-05
| 3 | 0.316 | 0.32 | 3 | 0.973 | 30 | 1.401 | 1.524 | 1.086 | 0.993 | 0.961 | 0.927 | 0.921 | 0.919 | 0.925 | 0.916 | 3 | 0.0232 | 30 | 79 | 27.8 | 3.99 | 1.406 | 0.668 | 0.0912 | 0.022 | 0.00226 | 0.000214 | 2.89e-05
| 4 | 0.1708 | 0.1728 | 4 | 0.967 | 40 | 1.301 | 1.326 | 1.078 | 1.016 | 0.994 | 0.969 | 0.963 | 0.96 | 0.97 | 0.954 | 4 | 0.00701 | 40 | 54.3 | 20.6 | 3.82 | 1.417 | 0.686 | 0.0951 | 0.023 | 0.00236 | 0.000224 | 3.01e-05
| 5 | 0.0904 | 0.0914 | 5 | 0.975 | 50 | 1.196 | 1.187 | 1.06 | 1.022 | 1.006 | 0.992 | 0.987 | 0.99 | 0.99 | 0.972 | 5 | 0.00239 | 50 | 40.3 | 16.25 | 3.63 | 1.405 | 0.689 | 0.0972 | 0.0236 | 0.00243 | 0.000228 | 3.06e-05
| 6 | 0.0483 | 0.0489 | 6 | 0.977 | 60 | 1.105 | 1.093 | 1.039 | 1.019 | 1.01 | 1.003 | 1.001 | 1.004 | 1.008 | 0.994 | 6 | 0.000891 | 60 | 32.1 | 13.64 | 3.46 | 1.382 | 0.686 | 0.0981 | 0.0239 | 0.00247 | 0.000232 | 3.13e-05
| 7 | 0.0261 | 0.0264 | 7 | 0.979 | 70 | 1.047 | 1.035 | 1.021 | 1.012 | 1.008 | 1.005 | 1.002 | 1.008 | 1.017 | 0.992 | 7 | 0.000355 | 70 | 27.5 | 12.11 | 3.32 | 1.358 | 0.68 | 0.0981 | 0.0239 | 0.00248 | 0.000235 | 3.13e-05
| 8 | 0.01419 | 0.01436 | 8 | 0.978 | 80 | 1.013 | 1.007 | 1.006 | 1.005 | 1.004 | 1.002 | 1 | 1.01 | 1.012 | 1.008 | 8 | 0.0001472 | 80 | 25.2 | 11.36 | 3.22 | 1.339 | 0.675 | 0.0977 | 0.0238 | 0.00248 | 0.000233 | 3.18e-05
| 9 | 0.00794 | 0.00803 | 9 | 0.973 | 90 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 9 | 6.47e-05 | 90 | 24.4 | 11.14 | 3.19 | 1.329 | 0.671 | 0.0975 | 0.0238 | 0.00245 | 0.000231 | 3.15e-05
| 10 | 0.00464 | 0.00469 | 10 | 0.968 | [11 empty] | 10 | 3.05e-05
D(y,z)
cGy h-1 U-1
y / cm
[19 empty] | z/cm | 0 | 0.5 | 1 | 1.5 | 2 | 3 | 4 | 5 | 6 | 7
[19 empty] | 0 |  | 3.19 | 0.671 | 0.23 | 0.0975 | 0.0238 | 0.00725 | 0.00245 | 0.000911 | 0.000362
[19 empty] | 0.5 | 4.19 | 1.634 | 0.514 | 0.2 | 0.0888 | 0.0226 | 0.00699 | 0.00241 | 0.000901 | 0.000359
[19 empty] | 1 | 0.58 | 0.489 | 0.273 | 0.1351 | 0.0682 | 0.01946 | 0.0063 | 0.00224 | 0.000852 | 0.000343
[19 empty] | 1.5 | 0.1855 | 0.1755 | 0.129 | 0.0796 | 0.0462 | 0.01535 | 0.00535 | 0.001981 | 0.000772 | 0.000316
[19 empty] | 2 | 0.0743 | 0.0733 | 0.0618 | 0.0445 | 0.0291 | 0.01131 | 0.0043 | 0.001683 | 0.000681 | 0.000284
[19 empty] | 2.5 | 0.0348 | 0.0347 | 0.0311 | 0.0247 | 0.01774 | 0.00794 | 0.0033 | 0.001371 | 0.000579 | 0.000249
[19 empty] | 3 | 0.01764 | 0.01766 | 0.01639 | 0.01381 | 0.01064 | 0.00537 | 0.00244 | 0.001079 | 0.000477 | 0.000211
[19 empty] | 3.5 | 0.0095 | 0.00949 | 0.00899 | 0.00787 | 0.00639 | 0.00356 | 0.001765 | 0.000827 | 0.000383 | 0.0001758
[19 empty] | 4 | 0.00532 | 0.00531 | 0.00509 | 0.00458 | 0.00386 | 0.00233 | 0.001249 | 0.000622 | 0.0003 | 0.0001435
[19 empty] | 4.5 | 0.00308 | 0.00307 | 0.00297 | 0.0027 | 0.00235 | 0.001531 | 0.000867 | 0.000459 | 0.00023 | 0.0001147
[19 empty] | 5 | 0.001823 | 0.001809 | 0.001768 | 0.001631 | 0.001447 | 0.000995 | 0.000602 | 0.000333 | 0.0001749 | 9.04e-05
[19 empty] | 5.5 | 0.001109 | 0.001099 | 0.001075 | 0.001004 | 0.000899 | 0.000651 | 0.000413 | 0.000239 | 0.0001315 | 7.07e-05
[19 empty] | 6 | 0.00068 | 0.000675 | 0.000662 | 0.000626 | 0.00057 | 0.000428 | 0.000282 | 0.0001711 | 9.79e-05 | 5.54e-05
[19 empty] | 6.5 | 0.000429 | 0.000426 | 0.000418 | 0.000397 | 0.000364 | 0.000281 | 0.0001921 | 0.0001217 | 7.28e-05 | 4.32e-05
[19 empty] | 7 | 0.000272 | 0.00027 | 0.000265 | 0.000252 | 0.000234 | 0.0001847 | 0.0001318 | 8.67e-05 | 5.44e-05 | 3.3e-05